## Slide 1
Geo ISC meeting, May 2011
Yet another SQL?
Tobias Westphal
http://www.qi.aei-hannover.de/

## Slide 2: outlook
The SQL - a fundamental limit for classical interferometry
Basics
  Heisenberg uncertainty
  Time evolution of a free mass
  Shot noise vs. radiation pressure noise
  Free mass SQL
  Free mass → oscillator
  Transfer function
  Oscillator SQL
  Nano oscillators
  There is no „force SQL“
  Membrane interferometer (B12)

## Slide 3: Heisenberg uncertainty
Non commuting operators
  Position x
  Momentum p
  Variance
  Measure of the spread
  Δx= <(x- <x>)²
  = <x²> - <x>²
  Heisenberg says
  Δx Δp ≥ ħ/2
  → Measuring x exactly smears out p

## Slide 4: Measuring positions exactly
Interferometry
  measures differential displacements
  Single measurement sets limit on Δx(0)
Consequences
  Δp(0) is set (state collapses)
  Time evolution translates
  Δp(0) → Δx()
  Position measurements at different times do not commute
  → back action noise
Δx(0)
Δx()
→ Δp

## Slide 5: How to: back action noise
Standard text book explanation
Momentum uncertainty converts to (uncertain) position change
  (Δx)²() = (Δx)²(0) + [(Δp)²(0) /m²] 
  ≥ 2 Δx(0) Δp(0) /m
  ≥ ħ/m
  (Δx)() ≥ √(ħ/m)
Caves states
Free mass undergoes unitary evolution
Time evolution of collapsed (measured) state
  (Δx)²() = (Δx)²(0) + [(Δp)²(0) /m²] 
  + [<x(0)p(0)+p(0)x(0)> -2<x(0)> <p(0)> ] /m
  Last term could be negative (contractive states)
  Standard argument is valid for linear x-readout
Δx(0)
Δx()
→ Δp

## Slide 6: Welcome the quantum noise

## Slide 7: Interferometers point of view
Inputs into the interferometer:
Laser amplitude alas
sent into bright port
Vacuum amplitude avac
enters dark port
Combined by beam splitter
Vacuum anti corollated by BS phase
anorth= (alas + avac)/ √2
aeast = (alas - avac)/ √2
alas
avac

## Slide 8: Shot noise
Limit for position measurement
abright = anorth /√2 + aeast/√2
= alas
adark = anorth /√2 - aeast/√2
= avac
With signal at dark port:
adark = asig + avac
Pdark = (asig + avac)²
= asig² + avac² + 2asig avac
Signal normalized shot noise:
asig avac /asig² ~ 1/√Plas
anorth= (alas + avac)/ √2
aeast = (alas - avac)/ √2
alas
avac
Shot noise

## Slide 9: Radiation pressure noise
Pnorth = anorth ²
= alas²/2 + avac²/2 + alasavac
Peast = aeast ²
= alas²/2 + avac²/2 - alasavac
Pdiff = Pnorth – Peast
= 2 alasavac
Back action noise
Fdiff = 2Pdiff/c
xdiff = H Fdiff
= H 4alasavac /c
~ √Plas
anorth= (alas + avac)/ √2
aeast = (alas - avac)/ √2
alas
avac
δpγ = 2Eγ/c

## Slide 10: Suceptibility / transfer funtion
Displacement of clamping point moves suspension point
Suspension
point
Clamping point
Below resonance: no isolation (1)
At resonance: enhancement (Q)
Above resonance: isolation (~1/f²)
xCP
xSP

## Slide 11: Suceptibility / transfer funtion
Force onto suspension point moves suspension point
Suspension
point
Clamping point
Below resonance: constant response (1/mω0²)
At resonance: enhancement (Q)
Above resonance: isolation (~1/f²) →
FSP
xSP
Free mass!

## Slide 12: Welcome the SQL
Shot noise
√Gshot(f)=const
√Gshot ~ 1/ √Plas
Radiation pressure noise
√Grad (f)~ 1/ω²
√Grad ~ √Plas
Total quantum noise
√GQtot = √(Grad + Gshot)
Standard quantum limit
√GSQL = √GQtot (P) |Grad=Gshot
= √(2 Grad(Popt) )

## Slide 13: Trend towards nano oscillators
[Kippenberg, Vahala, DOI: 10.1126/science.1156032]
Resonance Frequency
Effective Mass
Hz
MHz
kg
pg

## Slide 14: Back to the roots
Below resonance: constant response (1/mω0²)
At resonance: enhancement (Q)
Above resonance: isolation (~1/f²)
Susceptibility: free mass → oscillator
mmem= m = mass of oscillator
ωmem= ω0 = resonance frequency
Q = quality factor

## Slide 15: SQL below free mass limit
r²P0 = total reflected power
(Formulas valid for B12 interferometer)

## Slide 16: Wrong interpretation
Lehnert group
Sensitivity was normalized to peak value of SQL
But neither oscillator nor free mass SQL were (could be) beaten
→ Linear position readout
Trick:
A force SQL is introduced
Positions are measured and forces is inferred
BUT force is classical
→ no back action, no SQL

## Slide 17: „Lets play lemmings“
Kippenberg group
Followed Lehnert
People tend to „forget“ the SQL definition?
Inferred shot noise below other noises

## Slide 18: B12 mirror suspension
mechanical properties
frame: 7,52 mm2 x 200 µm
area: 1,5 mm x 1,5 mm
thickness: 75 nm
effective mass: ~ 100 ng
resonance freq.: ~ 100 kHz
Q-factor: ~ 106
optical properties
reflectivity: ~ 30%
absorption: ≤ 150 ppm
scattering: → 0
flatness: 1 nm?
roughness: 0,2 nm?
[J.D. Thompson et al. arXiv:0711.2263]
SiN membrane in SI frame

## Slide 19: B12 interferometer
Michelson Sagnac configuration
Membrane as common end mirror
of a Michelson interferometer
→ displacement sensitivity doubled
Transmitted light circulates in a Sagnac mode
→ dark output, important for
  Common mode rejection
  Optical recycling
High amount of symmetry
→ laser frequency noise rejection
Standing wave in Sagnac intererometer
→ low power absorption at the node

## Slide 20: B12 sensitivity
Factor 5.8 below peak SQL value
Sensitivity on resonance limited by
thermal noise
→ cool experiment
Sensitivity off resonant limited by
shot noise
→ non displacement noises below peak:
e.g. laser noise, electronic noise…
Shot noise >10x below peak SQL
→ decrease dark noise

## Slide 21: Conclusion
There can only be one
The Standard Quantum Limit
is the set of optimal sensitivities
is defined for linear x-readout
→ can be beaten by QND measurements
→ requires uncorellated quantum noises?
is originally related to a free mass
→ used as quantum noise reference
can be extended to oscillators