## Slide 1: Steering mirror actions what they should do and can do
Fumiko Kawazoe for the GEO-isc team,
@GEO-isc meeting, May 06, 2011 Hannover
Notes: I was thinking of sumarizing what they should do and can do but then thought of a new way to tackle the problem,
So I change my title

## Slide 2: Steering mirror actions New method: do you buy it?
Fumiko Kawazoe for the GEO-isc team,
@GEO-isc meeting, May 06, 2011 Hannover

## Slide 3: The frequency reference cavity
SM1
SM2
Mc
Ma
Mb
10m
0.3m
Incoming beam
NPRO free running
Frequency[Hz]
Frequeny noise[Hz/sqr Hz]
Target
0.3m
0.55m
Dimension
Requirement

## Slide 4: Once it is locked… Alignment control
SM1
SM2
Mc
Ma
Mb
10m
0.3m
x
y
z
Pa
Pc
Pb
SM1
SM2
Mc
e.g. :
Ma misaligned by αa
Mb
10m
0.3m
Incoming beam
αa
γEi
γEc
Ma
Incoming beam
Aligned
Pa
Pc
Pb

## Slide 5
Mb
SM1
SM2
Ma
Mc
η=0°
D1
D2
SD1
SD2
Linear Combinations
Mb_yaw
Ma-c_yaw
Mb_pitch
Ma+c_pitch
Steering mirror
matrix
η=90°
Then we faced a problem
Error signals
How much the SMs have to tilt to mull the error signals
These DOFs are not independent in terms of misalignment types at the waist
Root of the problem

## Slide 6
Then how about this ??
Mb
SM1
SM2
Ma
Mc
η=0°
D1
D2
SD1
SD2
Steering mirror
matrix
η=90°
Shift at the waist type
Tilt at the waist type
 | SD1 | SD2
SM1 | -5734.7 | -2.0
SM2 | 4595.0 | 2.0
Yaw Error signal (Coefficient)
 | SD1 | SD2
SM1 | -4092.6 | -1.4
SM2 | -3311.2 | -1.4
Pitch Error signal (Coefficient)
Yaw:
SM1 + SM2  Shift at the waist type
0.8 x SM1 – SM2  Tilt at the waist type
Pitch:
SM1 - SM2  Shift at the waist type
0.8 x SM1 + SM2  Tilt at the waist type

## Slide 7
How much do the steering mirrors move?
Mb
SM1
SM2
Ma
Mc
η=0°
D1
D2
SD1
SD2
η=90°
Shift at the waist type
Tilt at the waist type
Yaw: ~ 5 times
Pitch: ~100 times
Yaw: ~ 1 times
Pitch: ~10 times
Given a very small misalignment on cavity mirrors (~10 n rad), the actuation range should be enough for even the worst case