## Slide 1: Auto-alignment design of the AEI- 10 m reference cavity
Fumiko Kawazoe for the GEO-isc team,
@GEO-isc meeting, May 10, 2010 Hannover

## Slide 2: Motivation
To maintain the interference correctly for the length control, angular motions need to be controlled. There are 10 DOFs.
Δｘ
Δφ
x
y
z
r
θ
φ
Incoming beam
optical axis
Cavity Eigenmode
Δz
Δθ
Incoming beam
optical axis
Cavity Eigenmode
Rotation around the
incoming beam axis
4 DOFs (relative)
Shift within x-y plane
4 DOFs (absolute) + 2 DOFs = 6 DOFs
Once incoming beam fixed to eigenmode
By Differential Wavefront Sensing control
By Spot positioning control
Notes: Once the incoming beam is fixed to the eigenmode, they can move together in the four DOFs mentioned before.
Now we look at what DWS scheme can do.

## Slide 3: Differential Wavefront Sensing
Pure angular misalignment @waist
Pure lateral shift@waist
Δα
No phase difference @ far field
No phase difference @ waist
Δx
Some phase difference @ far field
-
split PD
 | PD @ waist | PD @ far field
Pure angular |  | 0
Pure lateral | 0 | 
DWS signal
Mislaligned,
in HG u0+u1
HG u0+u1
Aligned beam,
in HG u0
HG u0
difference
PDH scheme
Notes: Two extreme types of misalignments. When a misaligned beam propagates, the first order mode u1 acquires an additional
phase shift with respect to u0 which is given by the Guoy phase (z) = arctan(z=zR)
and which alters the ratio of lateral to angular misalignment.
PD at the waist is only sensitive to the pure angular type.
PD at far field is sensitive to the pure lateral type.
In general a misalignment is a mixture of the two types. Two PDs are used to get all information.
But for now let’s forget about the two PDs, but concentrate on how each misalignment will cause the eigenmode to change.

## Slide 4: Cavity eigenmode of the ref. cavity
SM1
SM2
Mc
Ma
Mb
10m
0.3m
x
y
z
Pa
Pc
Pb
SM1
SM2
Mc
Ma misaligned by αa
Mb
10m
0.3m
Incoming beam
αa
γEi
γEc
Ma
Incoming beam
Aligned
Pa
Pc
Pb
Notes: Now we want to apply to the DWS scheme to our reference cavity.
We give each mirror a small misalignment, and record each value.

## Slide 5: Yaw misalignment
x
y
z
Mc
Mb
10m
0.3m
αa
γEi
γEc
Ma
Very similar 
linear combinations
Ratio between angular and lateral
Pure angular
Pure lateral
Very small effect on DWS signal
Pa
Pc
Pb
Notes: Theta w: ratio between angular and lateral,
Alpha_a and alpha_c very similar, take linear combinations.
Alpha_b pure angular type, thus theta^W is 90.
Alpha_- is pure lateral type. Promptly reflected beam deflected, so theta is not zero but has some value.
Alpha_+ malkes no lateral shift, nor angular shift, and just so small. DWS will not control this. Nevertheless due to Ec, it appears as a spot position difference on the PD. Details comes later.

## Slide 6: Geometrical analysis αb
waist
Snell’s law
Snell’s law
ROC
θ
θ
Snell’s law
φ+θ
φ
φ
θ
αb ・R
αb
dY
L
?
R – L - ?
θ
θ
d
θ ・d
d - θ ・d
Waist
d
θ ・d
d
Diameter
n.v.
αb ・R = θ・(R-L-d)
θ = [ R/(R-L-d) ]・ αb
dY = θ・(L+d)
= [ R(L+d) /(R-L-d) ]・ αb
R=37.8
L=10.05 
d=0.15
θ = 1.370・ αb
dY =13.970 ・ αb
αb
Notes: Aligned: black. Roc is here. Misaligned, (green), Normal vector changes by alpha_b. The discance is alpha_b xR.
Here’s my new eigenmode(green), we know this is smaller by 2alpha_b, and this is bigger by 2alpha_b, so the sharp corner stays unchanged.
We want to know this angle, and these distances, to calculate dY, and also this angle., we name theta.
Due to snell’s law, this is also theta. Then look at this triangle and we know that this angle is phi+theta. Then we shift our eyes up to see the blue triangle. Then we know that the angle we wanted to know turns out to be theta.

## Slide 7: Geometrical analysis α-
½ α-
φ
θ
½ α-

dx = dφ・L
= α- ・L
dφ
dx
L
θ+ α-
φ’
½ α-
R=37.8
L=10.05 
d=0.15
dx = 10.05 ・ α-
symmetric
dφ = (φ – φ’)/2
= α-

## Slide 8: Pitch misalignment
Very similar 
linear combination
x
y
z
Mc
Mb
10m
0.3m
αa
γEi
γEc
Ma
Ratio between angular and lateral
Pure lateral (the whole mode shifts)
Pure lateral
Very small effect

## Slide 9: Geometrical analysis βb
dZ
ROC
L
R-L
βb
Mb
Ma,c
βb
βb・R
dZ=βb・R
L
eye
Projection onto z-x plane is possible ( φ<<1 )
x
y
z
φ
R=37.8 
dZ = 37.8 ・ α-

## Slide 10: Geometrical analysis β+
dZe
ROC
L
R-L
βeff ( = βeff /2 ・2(mirrors) )
Mb
Ma,c
dZi = βeff ・(R-L)
dZi
βeff
dZe = βeff ・R
Projection onto z-x plane is possible with a correction factor ( φ’ is not small (~ pi/2) )
x
y
z
L
eye
φ’
βeff = β+/sqrt 2
R=37.8
L=10.05 
dZi = 19.622 ・ β+
dZe = 26.729・ β+
Strktly speaking, angle of incidence not exactly 45 degβeff > β+/sqrt 2 .
Notes: Angle of incidence smaller than 45, effective is a bit larger than 1/sqrt 2, the distances must be larger in c-code. And they are!

## Slide 11
45°
b
b
b
incident beam
b = b + b
b
b refl
β+/2
The perpendicular component will be deflected by β+, while the parallel will stay unchanged.
β+
side view
View from above
b
r
r・cos β+
reflected beam
φ
d
r・sin β+
r
x
y
z
What is βeff ?
L
Define: βeff = φ - 90°
b
d2 = r2+ r2・cos2 β+
r・sin β+
d
φ - 90°
L
L2 = d2+ r2・sin2 β+
= r2+ r2・cos2 β+ + r2・sin2 β+
= 2r2
sin (φ - 90°) = r・sin β+/L
= sin β+/sqrt 2
φ - 90°= β+/sqrt 2 ( β+ <<1)  βeff = β+/sqrt 2

## Slide 12: Clear signals
Mb
SM1
SM2
Ma
Mc
η=0°
D1
D2
SD1
SD2
Linear Combinations
Mb_yaw
Ma-c_yaw
Mb_pitch
Ma+c_pitch
Steering mirror
matrix
η=90°
Yaw
Pitch
With lenses
With lenses
Very small
Notes: Now we understand what they do. What we need to do now is to take linear combinations of the two PD outputs to prepare clear signals, so that we can feed back to the steering mirror correctly.

## Slide 13
Pda Q
GL1
f=600mm
GL2
f=-30mm
Total Gouy phase[degrees]
Distance from the first waist[m]
Beam size[um]
2.4 mm
2.0 mm
Gouy lenses
Beam radius at PD
Enough space for
Beam Centering(later)
Pda I
1.60 m
Pda Q
2.85 m
Gouy lenses
Η(u1)-η(u0)=90°
Ma
Mc
GL1
3mm 13 deg.
Notes: With gouy lenses, one aims to vertually propergate the beam so that the gouy phase difference between the HG fundamental mode and the first higher mode is 90 degrees. Here we use this this…like GEO(I do not mention this but it prevents creating the small waist this no glitch.)
The small waist, steep gouy phase, 3mm before the ideal point would make 13 degrees over all, (after the ideal point it is only 0.5, since increase+ decrease= cancel out)

## Slide 14: Steering mirror actuation
DWS(4)
Mb
SM1
SM2
Ma
Mc
η=0°
D1
D2
S1
S2
Linear Combinations
Mb_yaw
Ma-c_yaw
Mb_pitch
Ma+c_pitch
Steering mirror
matrix
η=90°
30cm
55cm
Error signals
Error signals
How much and in what direction SMs have to tilt to mull the error signals ?
~30MHz
Depends on distances.
SMs(single pendulum)
Aim bandwidth ~5Hz
Notes: I have not mentioned yet but this is about 30MHz, used for the length control.
Depends on distance, but not a big change is expected.

## Slide 15: DWS with FINESSE
C-code
Sign: depends on convention difference not important here
Value difference: common Gouy phase adjust, length adjust between the two simulations

## Slide 16: Remaining DOFs
Δｘ
Δφ
x
y
z
r
θ
φ
Incoming beam
optical axis
Cavity Eigenmode
Δｙ
Δθ
Incoming beam
optical axis
Cavity Eigenmode
Rotation around the
incoming beam axis
4 DOFs (relative)
Shift within x-y plane
4 DOFs (move together ) + 2 DOFs = 6 DOFs
DWS
Once incoming beam fixed to eigenmode

## Slide 17: Spot positioning control
SM1
SM2
Mc
Ma
Mb
10m
0.3m
~0.3m
~0.55m
x
y
z
PDc
Pda I
PD2
PDb
0.1m
1.60 m
0.1m
0.1m
Pda Q
2.85 m
Gouy lenses
Remaining 6 DOFs
wo/ lenses
w/ lenses
Because of lenses signals appear smaller
More sensitive
Incoming beam fixed to the eigenmode
Effectively looking at the cavity eigenmode
Lateral +
angular
Notes: In principle placing 3 behind 3 cavity mirrors will do. Here, DWS control is on Input beam follows the eigenmode placing a pd behind PD2 is effectively looking at the cavity eigenmode.
We use Pda Q because it is more likely to be more sensitive.

## Slide 18: Expected signals
Take linear combinations…
3DOFs mixed
3DOFs mixed
3DOFs mixed
3DOFs mixed
3DOFs mixed
3DOFs mixed

## Slide 19: Clear signals(linearly independent matrix)
YAW
PITCH

## Slide 20: System location inside the PT hall
N
E
Reference cavity
90cm
1.5m
Mid tank
Detection bench
~1.2m
Space reserved for beam centering device
N
E

## Slide 21: Summary
DWS: 5Hz
SPOT POS: 0.1Hz
2
SM1
DWS
2
DWS
SM2
Mc
Mb
Ma
2
Spot-pos
Spot-pos
Spot-pos
2
2
PD2
PDb
Pda I
Pda Q
-1
EOM: ~30MHz
Notes: Reason behind, also emphasize this can be changed, flipped and still probably it works